Brief function description of Smart Pass Temperature Detection APK

APK the main interface of running

Setting interface

- Press the mouse wheel button (middle button) and type in the password 123456 to enter the setting interface.

Login management

- Need to register with our cloud platform（http://www.mipsyun.com/）, then fill in the account of the cloud platform on it to connect to the platform.

Application setting

- Device name setting: Set the device name.

- Body temperature setting: body temperature detection, body temperature alarm, mask detection function switch on and body temperature threshold value.

- Identification parameter setting: the lower the threshold value, the higher the identification accuracy, the more identification times, the slower the stranger is reported.

- Volume setting: set the volume

- Startup setting: Auto start after booting, and the application will start automatically after exiting.

- Identification effect display: setting of LED light, green light for success (settable display image name), red light for failure, fill light.

- Application password setting: set password, initial password is 123456.

- Camera preview resolution setting: Set the resolution.

- Screen saver brightness setting: set brightness.

- Device restart time setting: setting of device restart time.

- Relay setting: There are 3 relay modes. Mode 0 is non-automatic closing, and the signal to switch on and off is required. Modes 1 and 2 are automatically closed, as long as a signal to open the gate. 1 is high level, 2 is low level.

- Application initialization: restore the initial

.

- Face entry :Enter face information

- Application information: check the basic information of the device.

- Pass record: save and view the information of brushed face.

- Face library: save the information of entered face.